## Slide 1
Start
Input: plant and grid parameters,
scenarios S1–S5 (Table 2)
Averaged PV–BESS model: single-diode PV,
P&O MPPT, battery SOC, PLL, VIC and
aggregate swing equation (Python and Julia)
Coordination law: severity weight α (3), SOC-aware
gate β (4), reference Pref (5); four baselines
Robust tuning: Monte Carlo sampling with CVaR
(γ = 0.95), NSGA-II, knee-point gain set
Python–Julia bit-exact
and initial RoCoF within
0.5 % of ΔP/(2Hsys)?
Scenario evaluation: S1–S5 × five controllers
× 100 realisations; nadir, RoCoF, MPP deviation,
BESS throughput; effect sizes (Cliff's δ)
Yes
No
A
B
A
Spectral limit-cycle test for each controller:
Pp2p > 0.01 pu and fosc > 2/Tw (6–8 s)
Threshold
(relay) battery
dispatch?
Describing function and
existence condition hΣ < ΔPL
< hΣ + M, checked against
detected cycles (Figure 7)
Circle criterion: absence
certificate for smooth,
sector-bounded dispatch,
checked against test
Yes
No
Robustness checks: relay at 49.7 Hz and latched
FFR, primary-reserve map, ablation of α and of
the gate, SOC near its limits, inertia sweep,
load rejection (S6)
Switching-level testbed: coupled battery converter,
swing-equation grid emulator (Simulink)
Nadir and Pp2p agree
with averaged model?
No
B
Yes
Comparison with previous studies,
limitations and conclusions
End